Appendix B-3: Documentation Requirements for Multi-Fuel Generation Units

Upon registration with M-RETS as a Multi-fuel Generation Unit, each such Multi-Fuel Generation Unit’s Account Holder must submit to the M-RETS Administrator a report prepared by a licensed Professional Engineer containing documentation of a methodology for calculating the electricity production associated with each fuel used during a month, consistent with the applicable requirements of Section 7.10.1. Following the M-RETS Administrator’s review and acceptance of such a report’s methodology, the Multi-Fuel Generation Unit’s Account Holder may seek creation of M-RETS Certificates subject to the provisions of Section 7.10. This requirement will be waived for facilities that provide documentation supporting renewable output calculations to a state, provincial or other regulatory authority upon verification by the regulatory authority that such documentation has been provided.

Documentation of the following information used to calculate the proportion of electric output per fuel type, by MWh, generated by the unit during a calendar month must be maintained by Multi-Fuel Generation Units seeking M-RETS Certificates, using the best available sources of information. If the generating unit already provides documentation to regulatory entities addressing each of the items below or otherwise provides substantiation of the percentage of generation from each fuel type to regulatory entities, this documentation may substitute, upon approval of the M-RETS Administrator, for the requirements listed below.

- Quantities of each fuel type must be measurable and verified by documentation provided for verification or approval at least annually to a state, provincial or other regulatory authority, if available. If such documentation is not available, verifiable documentation of fuel quantities consumed during each month may be considered, such as financial records of fuel supply deliveries coupled with plant reports documenting mass of each fuel consumed in each calendar month.

- Documentation of net heat content for each fuel source must be supported by documentation of heat content measurement consistent with American Society for Testing and Materials (ASTM) standards and the frequency of heat content testing certified by a laboratory following ASTM standards procedures or a licensed professional engineer.  Heat content and moisture content (for non-liquid fuels) for each fuel source in a Multi-fuel Generating Unit must be tested on a monthly basis, except for a generator that meets any of the following:

  - A Multi-fuel Generating Unit producing less than 1500 MWh per year of electricity from a renewable fuel source, including a Multi-Fuel Generating Unit registered using Distributed Generation Aggregation. Documentation of the grounds for estimated renewable electricity to be produced must be provided to the M-RETS Administrator.

  - A Multi-fuel Generating Unit using liquid fuels where the fuel arrives as blended. Documentation of fuel blend and assumed heat content must be provided to and approved by the M-RETS Administrator. Heat content assumed must be consistent with industry standards as verified by the M-RETS Administrator.

- If specification of a heat rate is required according to provisions of Section 7.10.1, the heat rate must be determined using methodology similar to ASME Performance Test Code 4 – Fired Steam Generators by a Professional Engineer utilizing existing measurement systems in the facility.  Record of such determination of heat rate should be kept on record and made available upon request for review.  If different heat rates apply for different fuels, the determination for each applicable heat rate must meet the requirements of this paragraph.